## Sheet1
Lab | Screen type; size; ratio;refresh rate | stimulus presentation language | Distance between chinrest and monitor | EEG system number of channels; sampling rate | Reference; grounding | Impedances | HEOG | Faraday cage | Soundproof or sound attenuated recording room
NNU | 1024×768 85hz | Psycholopy 2023.1.0 | 70cm | Neuroscan; 64 channels; 1000Hz |  | Kept below 10 | Yes | No | Yes
SJTU | 1024×768 120hz | Psycholopy 2023.1.0 | 70cm | Neuroscan; 64 channels; 1000Hz | 参考FCz; 接地Afz | Kept below 20 | Yes | Yes | Yes